# Vaccine Management Plan

Keep your management plan near vaccine storage units.

Instructions: Complete this form, and Mobile Vaccine Management Plan (Word) if applicable. Staff with assigned vaccine-management responsibilities must review, sign, and date the vaccine management plan annually, each time it is updated, and when staff with designated vaccine-management responsibilities change. To ensure emergency preparedness, ensure content and protocols are up to date.

Contents

Section 1: Important Contacts

Section 2: Equipment Documentation

Section 3: Summary of Key Practice Staff Roles & Responsibilities

Section 4: Management Plan for Routine Situations

Section 5: Worksheet for Emergency Vaccine Management

Section 6: Management Plan for Emergencies

Section 7: Training Log for Required EZIZ Lessons

Section 8: Annual Signature Log

## Section 1: Important Contacts

### Practice or Clinic

| Description | Provider Profile |
| --- | --- |
| Location Name |  |
| Address |  |
| Provider PIN |  |
| CAIR Registry ID |  |
| Program(s) | VFC VFA LHD 317 SGF |

### Key Practice Staff & Roles

| Role | Name | Title | Phone # | Alt Phone # | E-mail |
| --- | --- | --- | --- | --- | --- |
| Provider of Record * |  |  |  |  |  |
| Provider of Record Designee * |  |  |  |  |  |
| Vaccine Coordinator * |  |  |  |  |  |
| Backup Vaccine Coordinator * |  |  |  |  |  |
| Organization Vaccine Coordinator |  |  |  |  |  |
| Additional Vaccine Coordinator |  |  |  |  |  |
| Immunization Champion |  |  |  |  |  |
| Receives vaccines |  |  |  |  |  |
| Stores vaccines |  |  |  |  |  |
| Handles shipping incidents |  |  |  |  |  |
| Monitors storage unit temperatures |  |  |  |  |  |
| Transports vaccines |  |  |  |  |  |

* Required roles

### Useful Emergency Numbers

| Service | Name | Phone # | Alt Phone # | E-mail |
| --- | --- | --- | --- | --- |
| CDPH Field Representative |  |  |  |  |
| VFC Program |  | (877) 243-8832 |  | MyVFCVaccines@cdph.ca.gov |
| VFA/LHD 317 Programs |  | (833) 502-1245 |  | providercallcenter@cdph.ca.gov |
| SGF Program |  | (833) 502-1245 |  | SGFvaccine@cdph.ca.gov |
| Utility Company |  |  |  |  |
| Building Maintenance |  |  |  |  |
| Building Alarm Company |  |  |  |  |
| Refrigerator/Freezer Alarm Co. |  |  |  |  |
| Refrigerator/Freezer Repair |  |  |  |  |

## Section 2: Equipment Documentation

### Storage Units

Identify all storage units (must meet program requirements) storing publicly supplied vaccines.

| Unit Type | Unit / Location ID | Brand | Model | Dates / Types of Service | Public Vaccines (Circle all that apply) |
| --- | --- | --- | --- | --- | --- |
| Refrigerator |  |  |  |  | VFC VFA LHD 317 SGF |
| Refrigerator |  |  |  |  | VFC VFA LHD 317 SGF |
| Refrigerator |  |  |  |  | VFC VFA LHD 317 SGF |
| Refrigerator |  |  |  |  | VFC VFA LHD 317 SGF |
| Freezer |  |  |  |  | VFC VFA LHD 317 SGF |
| Freezer |  |  |  |  | VFC VFA LHD 317 SGF |
| ULT Freezer |  |  |  |  | VFC VFA LHD 317 SGF |
| ULT Freezer |  |  |  |  | VFC VFA LHD 317 SGF |

For Manual-Defrost Freezers: Outline or attach protocols for defrosting freezers—if different from instructions provided under storage unit “Routine Maintenance” in the Provider Operations Manual.

Identify location of completed temperature logs: ___________________________

### Storage Unit Maintenance & Repair

Identify company servicing vaccine storage units.

| Description | Contact Info |
| --- | --- |
| Name |  |
| Phone |  |

### Digital Data Loggers

Ensure data loggers meet program requirements.

| Data Logger or Swappable Probe Model/Serial Number | Storage Unit / Location ID | Primary? | Backup? | Swappable Probe? | Calibration Expiration Date | Alarm Setting Low | Alarm Setting High |
| --- | --- | --- | --- | --- | --- | --- | --- |

### Data Logger Calibration Company or Laboratory

| Description | Contact Info |
| --- | --- |
| Company Name |  |
| Contact |  |
| Phone |  |
| Alternate Co./Lab |  |
| Contact |  |
| Phone |  |

### Data Logger Configuration & Maintenance

| Description | Provider Data |
| --- | --- |
| Location of Certificates of Calibration |  |
| Location of Temperature Data Files |  |
| IT/Support Provided by |  |
| IT/Support Phone |  |

### Data Logger Auto-Alert Notifications

Identify contact information for staff receiving data logger auto-alert notifications.

| Staff | Contact Information |
| --- | --- |
| Staff Name |  |
| Text or E-mail |  |
| Staff Name 2 |  |
| Text or E-mail |  |
| Staff Name 3 |  |
| Text or E-mail |  |

For Devices with Auto-Alerts: Attach protocols for responding to temperature excursions after hours. Consider implementing a phone tree. Ensure staff safety is addressed.

## Section 3: Summary of Key Practice Staff Roles & Responsibilities

### Provider of Record

- Oversees key practice staff to ensure all requirements are met.

- Designates one provider as Provider of Record Designee to cover VFC-related matters when Provider of Record is not available.

- Designates staff to act as primary and backup Vaccine Coordinators responsible for implementing your vaccine management plan.

- Ensures clinicians who administer VFC-supplied vaccines are knowledgeable of all ACIP-recommended immunizations including schedules, indications, dosages and new products.

- Ensures staff who conduct VFC eligibility screening, documentation, and billing are knowledgeable of all eligibility categories, documentation and billing requirements.

- Ensures practice’s vaccine storage units and data loggers are VFC-compliant.

- Ensures staff who monitor storage unit temperatures or sign off on completed temperature logs are fully trained on temperature monitoring and use of the practice’s data loggers.

- Ensures staff complete all required annual recertification training.

- Reviews all program requirements and vaccine management plan with staff at least annually and whenever requirements change.

- Participates in any required compliance site visits.

### Provider of Record Designee

Must complete training and documentation per program requirements and meet responsibilities listed above for the Provider of Record in his/her absence.

### Vaccine Coordinator

Completes required EZIZ training lessons.

Meets responsibilities described in the Vaccine Coordinator job aid (PDF).

Oversees the practice’s vaccine management plan for routine and emergency situations.

Monitors vaccine storage units.

Maintains program-related documentation in an accessible location.

Participates in any required compliance site visits.

### Backup Vaccine Coordinator

Must complete required EZIZ training lessons and meet the responsibilities described in the Vaccine Coordinator job aid (PDF) when the primary Vaccine Coordinator is not available.

### Organization Vaccine Coordinator (Optional)

Large organizations may assign this role to coordinate communications across locations and ensure locations are properly trained to implement their vaccine management plan. Staff must complete all required training for the Vaccine Coordinator role.

### Additional Vaccine Coordinator (Optional)

Additional vaccine coordinators may share vaccine management responsibilities as needed. Staff must complete all required training for the Vaccine Coordinator role.

### Immunization Champion (Optional)

Consider assigning the role of Immunization Champion to focus on ensuring providers and staff are knowledgeable about IZ schedules, vaccine products and dosages, and on improving coverage levels. This is not an official role, but practices and clinics that assign an Immunization Champion often have better compliance rates. The Immunization Champion performs these functions:

ensures staff know how to and are completing patient eligibility screening and documentation consistently

ensures vaccinators are consistently pulling from private or public stock as instructed in written orders

ensures vaccinators are urging parent/guardian to schedule follow-up doses before leaving

ensures vaccinators are educating patients and their parent/guardian about immunizations

researches and collaborates with provider to implement essential immunization strategies practice wide

Section 4: Management Plan for Routine Situations

### Initial Equipment Setup

Use vaccine storage units and digital data loggers that meet VFC Program requirements.

Prepare (PDF) and set up storage units (PDF) and configure data loggers (PDF) to meet program requirements.

Post temperature log (PDF) on vaccine storage unit doors or nearby in an accessible location.

Do not store vaccines in storage units until temperatures are stable (refrigerators at around 40.0F and freezers below 0.0F) for 3–5 days.

### Daily Tasks

Temperature Monitoring

Monitor and record (PDF) CURRENT, MIN, and MAX temperatures on temperature log (PDF) twice a day: when the clinic opens and before it closes.

Follow instructions on the temperature log to take action for all temperature excursions; contact manufacturers if instructed to determine if vaccines are okay to use.

Report all temperature excursions in myCAvax.

### Biweekly Tasks

Review and Certify Temperature Logs

Supervisor: Certify and sign that temperatures were recorded twice daily, staff printed names and initials, and corrective actions were taken—for each two-week reporting period.

Download and review data files at the end of every two-week reporting period to look for missed excursions or temperature trends that might indicate performance issues with vaccine storage units.

### Monthly Tasks

Physical Vaccine Inventory

Conduct a physical vaccine inventory (PDF) and complete the vaccine inventory form (PDF) or electronic equivalent.

Check vaccine expiration dates and rotate stock to place vaccines that will expire soonest in front of those with later expiration dates.

Remove expired vaccine immediately to prevent administration errors.

As needed, report in myCAvax all transfers of soon-to-expire vaccines in and out of inventory.

### Annual Tasks

Allocate time for and complete program recertification.

Review and update the practice’s vaccine management plan.

Review with key practice staff the vaccine management plan’s section on preparing for and responding to vaccine-related emergencies and conduct regular vaccine transport drills to maintain competency.

### Per Provider Schedule

Vaccine Orders

Determine total doses administered since previous order using CAIR/EMR administration summary reports.

Conduct a physical vaccine inventory (PDF) to determine total doses on hand by vaccine.

Report VFC doses administered (since the previous order) and doses on hand (at the time of the order) on each vaccine order.

Submit vaccine orders in myCAvax according to provider order frequency following program requirements.

Vaccine Deliveries

Inspect packages carefully using the vaccine receiving checklist (PDF) to report damage or discrepancies immediately.

Report shipment incidents in myCAvax the same day the shipment arrived at the office.

Store vaccines and diluents immediately and rotate stock.

Routine Maintenance

Establish a regular routine for cleaning vaccine storage units and defrosting manual-defrost freezers.

Replace batteries in temperature monitoring devices every six months.

Data Logger Calibration

Calibrate primary and backup data loggers (PDF) (both device and probe together) every two to three years or according to the manufacturer’s suggested timeline.

Calibrate primary and backup devices on different schedules to ensure all refrigerators and freezers storing vaccines from public stock are equipped with data loggers at all times.

File certificates of calibration in a readily accessible area, keep them for three years.

### To Minimize Loss

Transfer vaccines to another active VFC providers if vaccines will expire within six months and are likely expire before administration; report transfers in and out of inventory at myCAvax.

Respond to vaccine-related emergencies following the practice‘s vaccine management plan.

Confirm clinic delivery hours when submitting routine vaccine orders to ensure staff are available to receive vaccines.

### At Each Immunization Visit

Conduct patient eligibility screening to ensure vaccines are pulled from the correct private or public stock.

Administer all age-appropriate, ACIP-recommended vaccines.

Recommend non-routine, ACIP-recommended vaccines when indicated or when requested.

Report doses administered (including NDC, funding source and vaccine eligibility) to the California Immunization Registry (CAIR or CAIR/Healthy Futures) in accordance with AB 1797.

### As Needed

Spoiled, Expired, and Wasted Vaccines

Report doses spoiled, expired, or wasted in myCAvax and dispose of following practice protocols.

Return spoiled and expired vaccines to McKesson within six months of expiration/spoilage per program requirements.

Properly dispose of wasted vaccines following practice protocols.

Changes in Staff and Training:

Report changes to staff filling key program roles (Provider of Record and Designee, Vaccine Coordinator and Backup) in myCAvax following program requirements.

Ensure anyone acting in key program roles completes any required training when hired and annually thereafter following program requirements; staff must demonstrate competency in assigned roles and responsibilities (PDF).

Ensure clinicians who administer vaccines from public stock are knowledgeable of and familiar with all ACIP-recommended immunizations, including schedules, indications, dosages, and new products.

All staff who conduct VFC Program eligibility screening, documentation, and billing (e.g., front- or back-office staff) must be knowledgeable of all VFC eligibility categories, documentation, and billing for administration and general billing guidelines. Ensure proper training of personnel, including admitting and billing personnel, on processes for screening and billing for administration fees.

All staff and supervisors who monitor storage unit temperatures or sign off on temperature logs must complete the related EZIZ lesson when hired and annually thereafter; they must be fully trained on use of the practice’s data loggers and actions required after a temperature excursion is discovered.

Ensure staff authorized to accept packages are trained to immediately notify Vaccine Coordinators when vaccine shipments are delivered.

Update the practice’s vaccine management plan to reflect any changes in key practice staff.

Conduct vaccine transport and temperature excursion response drills annually or more frequently as needed (e.g., when hiring new staff or staff errors are discovered) to maintain competency and readiness for emergencies.

Device Replacement

Purchase a new data logger if existing device or probe malfunctions, is damaged, or if device provides repeated, inaccurate temperature readings.

Ensure new devices meet all program requirements.

Update new device information in myCAvax and the provider’s vaccine management plan.

## Section 5: Worksheet for Emergency Vaccine Management

The following sections include space for information and necessary actions to take in the event of an emergency, such as storage unit malfunction, mechanical failure, power outage, natural disaster, or human error.

In an emergency, contact the following people in the order listed:

| Role/Responsibility | First & Last Name | Phone # | Alt Phone # | E-mail Address |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |

Does the clinic have a generator?  If so, where is it?

If your clinic does not have a generator, and/or your vaccine storage unit fails, it might be necessary to transport vaccines to an alternate storage location (e.g., a local hospital or another active provider in the same vaccination program). Identify an alternate location(s) that has vaccine storage units and temperature monitoring devices that meet all program requirements and establish an agreement with them before completing this section.

| Alternate Vaccine Storage | Address & City | Phone # | Alt Phone # | E-mail Address |
| --- | --- | --- | --- | --- |

Location of Emergency Packing Supplies: __________________________________________

### Other Useful Information

Facility Floor Plan: Attach a simple floor diagram or instructions for accessing your vaccine storage units when the building is closed and location of key items needed during an emergency: circuit breakers, flashlights, spare batteries, keys to secured cabinets, backup digital data logger, vaccine storage units, coolers, etc.

Page 6

Section 6: Management Plan for Emergencies

Do not risk staff safety during emergencies. Use common sense when attempting to protect vaccines. Use the following guidance for safeguarding vaccines in the event of planned or unplanned power interruptions (e.g., power outages, weather-related circumstances, fires, building maintenance/repairs, etc.).

Refer to the program’s Provider Operations Guide for additional details.

### Checklist: Before an Emergency

Proper preparation for emergencies is essential for protecting the viability of vaccines. Use the following checklist to help ensure practices are ready for planned or unexpected situations that might affect vaccine viability.

| Step | Description |
| --- | --- |
| 1. | Maintain current emergency contact information for key practice staff in the vaccine management plan. |
| 2. | Maintain current contact information for alternate vaccine storage location(s), including the facility name, address, and telephone number in the vaccine management plan. |
| 3. | Be familiar with backup power sources for commercial- and pharmacy-grade units. |
| 4. | Know the location of the backup data logger used for vaccine transport. |
| 5. | Stock vaccine packing and transport supplies, including a hard-sided cooler, frozen gel packs, and bubble wrap. |
| 6. | Keep copies of the vaccine transport log (PDF) and floor plans (when available) for easy access during a vaccine-related emergency. |
| 7. | Review annually the steps key practice staff must take to protect vaccines during short- or long-term outages. |
| 8. | Vaccine Transport Drill: Practice packing the transport cooler using packing supplies and materials that simulate vaccine boxes. Do NOT practice with actual vaccines. |

### Checklist: During an Emergency

Vaccines may remain inside a nonfunctioning unit as long as appropriate temperatures are maintained. Monitor your data logger to determine when additional action should be taken.

Due to the risk to vaccines of improper packing and transporting, follow these step-by-step instructions to determine whether vaccines should be transported or sheltered in place.

| Step | Description |
| --- | --- |
| 1. | Do not open the unit. |
| 2. | - Place a “DO NOT OPEN” sign on vaccine storage unit(s) and leave door(s) shut to conserve cold air mass. |
| 3. | Notify the emergency contacts identified on the vaccine management plan’s “Worksheet for Emergency Vaccine Management.” |
| 4. | Note the time the outage started and storage unit temperatures (CURRENT, MIN and MAX). |
| 5. | Assess to determine the cause of the power failure and estimate the time it will take to restore power. |
| 6. | Take appropriate action. Transport refrigerated (PDF) or frozen vaccines (PDF) only if necessary following guidance. In the event of appliance failure Place vaccines in any approved backup storage unit with a VFC-compliant data logger, or transport vaccines to the designated alternate storage facility. For power outages after hours Report any excursion to myCAvax the next morning and take appropriate action. For planned outages expected to be short-term (approximately fewer than 4 hours)* Monitor storage unit temperature and report any excursions once power has been restored. For planned/unplanned outages expected to be longer than approximately 4 hours,* or for any outage that extends beyond the current business day Transport vaccines to the designated alternate storage facility. If transport or relocation is not feasible (e.g., alternate location is not available or travel conditions are unsafe), keep vaccine storage units closed and notify the program contact under this plan’s emergency contacts as soon as possible. |
| 7. | Once power has been restored, follow the steps listed in “After an Emergency.” |

* Note: Practices using purpose-built (pharmacy-, biologic-, and laboratory-grade) and commercial-grade storage units may need to transport vaccines to an alternate location sooner than 2 hours as temperatures in these units tend to increase faster during power failures. If you are using an auto-dispensing doorless unit, please contact the storage unit manufacturer for additional instruction prior to packing vaccines for transport.

Page 7

Page 8

### Checklist: After an Emergency

Follow these step-by-step instructions after vaccine-related emergencies in compliance with program requirements and best practices.

| Step | Description |
| --- | --- |
| 1. | Verify storage units are functioning properly. |
| 2. | If vaccine storage units are outside the required temperatures ranges, record the time that power was restored and storage unit temperatures (CURRENT, MIN and MAX) on the temperature log. |
| 3. | Once vaccine storage unit temperatures have stabilized, notify the emergency contacts identified on the vaccine management plan’s “Worksheet for Emergency Vaccine Management.” |
| 4. | Verify vaccines may be used: - If vaccines were maintained at required temperatures: - Remove the “DO NOT OPEN” sign from storage unit(s). - Notify supervisor that vaccines may be used. - If vaccines were exposed to out-of-range temperatures: - Label affected vaccines “Do Not Use.” - Document and report the excursion to myCAvax to receive further guidance. - If vaccines were transported due to an emergency situation: - Follow same transportation procedures and transfer vaccine back to its original storage unit. - If vaccines were maintained at the proper temperature during the power outage, notify supervisor that the vaccines may be used. |

## Section 7: Training Log for Required EZIZ Lessons

List all staff with vaccine-related responsibilities to acknowledge that they have completed the required EZIZ lessons or print a copy of the EZIZ Training Accounts linked to your PIN from your myCAvax profile and attach to this plan.

### Vaccines for Children (VFC)

| Staff Name | Role | VFC Program Requirements (all roles) | Storing Vaccines (all roles) | Monitoring Storage Unit Temperatures (all roles) | Conducting a Vaccine Inventory (Vaccine Coordinators) |
| --- | --- | --- | --- | --- | --- |

### Vaccines for Adults (VFA & LHD 317)

| Staff Name | Role | VFA Program Requirements (all roles) | LHD 317 Program Requirements (all roles) |
| --- | --- | --- | --- |

Page 13

Section 8: Annual Signature Log

Complete one signature block each year and when you up update practice-specific information. By signing, staff acknowledge they have reviewed and are familiar with all information in the document.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |
| Staff Who Updates VMP |  |  |  |
| Additional Staff |  |  |  |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |
| Staff Who Updates VMP |  |  |  |
| Additional Staff |  |  |  |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |
| Staff Who Updates VMP |  |  |  |
| Additional Staff |  |  |  |